## Slide 1: (Un)Common Sense Small Business Sustainability: Efficiency for renters/ lease holders
Heather Higinbotham Davies
UnCommon Sense: Business Leadership for a Sustainable Future

## Slide 2: Why Bother?
Better building performance directly improves your bottom line
  Lowers utility bills
  Decreases environmental footprint
  Creates a healthier work environment
  Improves employee retention

## Slide 3: Foundational questions:
Do you pay your own utility bills?
Is your landlord engaged/approachable?
How long do you plan on staying in current location?
What are your lease terms?

## Slide 4: Efficiency First!
Get a free energy audit from your utility
Identify efficiency opportunities
  Prioritize based on upfront costs, savings, ROI, available rebates, ease of implementation
Notes: Audit: learn where and how you use energy in your building, where to focus for most cost-effective opportunities for savings

## Slide 5: Engage your landlord
Increases lease value of property
Lowers risk
Reduces maintenance costs
Notes: Tenants account for 70% of energy used in commercial, retail, and industrial buildings

## Slide 6: No/Low Cost Upgrades
Behavior changes! Easy and free…
  Turn off lights and equipment when not in use
  Set thermostat at 78° or higher in summer and 66° or lower in winter
Don’t heat or cool an empty building!
Install a programmable thermostat
Avoid using space heaters
Close blinds in summer to keep out heat; open in winter for passive heat gain during the day and close to keep out cold at night
Notes: You can’t manage what you don’t measure

## Slide 7: No/Low Cost Upgrades
Switch most-used light fixtures to efficient LED lighting
Use task lighting
Install dimmer switches/motion sensors
Power strips/phantom power
Use energy/power management settings
Notes: You can’t manage what you don’t measure. LED bulbs use at least 75% less than incandescent and last 25 times longer. Check brightness and lumens! Get color temperature that works for your space. Measured in Kelvin—warmer light, closest to traditional incandescent is 2700-3000 K. Neutral white is 3500-4100K, blue white/daylight bulbs are 5000-6500K. Look for Energy Star or DLC certified—third party tested and verified to perform as advertised.
Power management settings on computer, printer, scanner, TVs, copiers. Avoid using screen savers

## Slide 8: No/Low Cost Upgrades
Energy/water benchmarking
  Portfolio Manager
Weatherization, air sealing
Perform routine maintenance
Turn down water heater to 120°
Insulate hot water tank and pipes
Notes: Weatherization: seal ducts, seal air leaks with caulk and weather stripping. Seal attics and crawl spaces.
Maintenance: clean air filters, vacuum refrigeration coils, make sure air vents aren’t blocked. Service HVAC systems annually.

## Slide 9: No/Low Cost Upgrades
Reduce outdoor water use
Water between 4 a.m. – 8 a.m. max 3 days/wk
Fix water leaks
Install aerators and low-flow fixtures
Add mulch around trees/plants
Water by hand and use a shutoff nozzle
Plant drought tolerant, native plants to minimize water and fertilizer use
Notes: Outdoor water use accounts for 50% of potable water use in Bozeman in summer—lawns and landscapes. City offers free sprinkler assessments, outdoor water rebate program, indoor efficiency program for toilets, showerheads, washers.
Water leaks: 1 drip per second = 1,661 gallons of water a year wasted

## Slide 10: Moderate Cost Upgrades
Purchase Energy Star equipment
Add window film to block out solar heat gain or install insulating shades
Replace old toilets with WaterSense labeled toilets
Consider an Energy Star on-demand hot water heater

## Slide 11: Investment-Level Upgrades
Solar photovoltaic, solar thermal, other renewables
Upgrade HVAC system to high efficiency unit
Install additional insulation
Install new high efficiency windows/doors
Install EV charging stations

## Slide 12: Resources
Funding/resources module!
Portfolio Manager:
  https://www.energystar.gov/buildings/facility-owners-and-managers/existing-buildings/use-portfolio-manager
Energy Star: https://www.energystar.gov/
NREL Energy Savings for Small Businesses:
  https://www.nrel.gov/buildings/small-businesses.html
American Council for an Energy Efficient Economy: https://aceee.org/
American Sustainable Business Council:
  https://www.asbcouncil.org/
Notes: ACEEE: case studies, publications and research, new technologies, policy info
ASBC: Policy advocates for climate and energy, safer chemicals, clean water, workplace sustainability, diversity/equity/inclusion

## Slide 13
Heather Higinbotham Davies www.stopwastingstuff.com
Heather.Higinbotham@gmail.com (406) 600-6617
Thank you!