| CHARACTERISTICS |  |
| --- | --- |
| Morphology | Of the genus Alphavirus, and a member of the Togaviridae family. Virions are spherical to pleomorphic (70 nm in diameter), consisting of an envelope and nucleocapsid. The non-segmented genome consists of a single molecule of linear positive-sense single-stranded RNA. |
| Disease | Epidemic polyarthritis and rash, Sindbis virus disease. |
| Zoonosis | Yes, indirectly by mosquito bite. May be transmitted by ticks. |

| HEALTH HAZARDS |  |
| --- | --- |
| Host Range | Humans, mosquitos, and birds. |
| Modes of Transmission | Transmitted by mosquito bite. |
| Signs and Symptoms | Sudden onset fever, headache, arthralgia, fatigue, and muscle pain. |
| Infectious Dose | Unknown. |
| Incubation Period | Up to 10 days. |

| MEDICAL PRECAUTIONS/TREATMENT |  |
| --- | --- |
| Prophylaxis | None. |
| Vaccines | None. |
| Treatment | No specific treatment; however, dioxane-based antiviral agents for treatment are under investigation. |
| Surveillance | Monitor for symptoms. |
| MSU Requirements | Report any exposures. |

| LABORATORY HAZARDS |  |
| --- | --- |
| Laboratory Acquired Infections (LAIs) | None reported. |
| Sources | Infected mosquitoes, skin lesions and blood or serum samples. Cultures, frozen stocks, other samples described in IBC protocol. |

| RISK GROUP & CONTAINMENT REQUIREMENTS |  |
| --- | --- |
| Risk Group 2 | Agents that are associated with human disease which is rarely serious and for which preventive or therapeutic interventions are often available. |
| BSL2 | For all procedures involving suspected or known infectious specimen or cultures. |
| ABSL2 | For all procedures utilizing infected animals. |

| VIABILITY |  |
| --- | --- |
| Disinfection | Susceptible to 1:10 bleach:water, 70 % ethanol |
| Inactivation | Inactivated by moist heat (1 hour at 121oC) and dry heat (1 hour at 170oC). |
| Survival Outside Host | Survive in cell culture at low temperature and low pH. Can also survive in biological materials for long periods of time. |

| SUPPLEMENTAL REFERENCES |  |
| --- | --- |
| BMBL | https://www.cdc.gov/labs/BMBL.html |
| NIH Guidelines | https://osp.od.nih.gov/wp-content/uploads/NIH_Guidelines.pdf |
| Canada PSDS | https://www.canada.ca/en/public-health/services/laboratory-biosafety-biosecurity/pathogen-safety-data-sheets-risk-assessment/sindbis-virus-pathogen-safety-data-sheet.html |

| SPILL PROCEDURES |  |
| --- | --- |
| Small | Notify others working in the lab. Remove PPE and don new PPE. Cover area of the spill with absorbent material and add fresh 1:10 bleach:water. Allow 20 minutes (or as directed) of contact time. After 20 minutes, cleanup and dispose of materials. |
| Large | - Immediately notify all personnel in the lab and clear all personnel from the area. Remove any contaminated PPE/clothing and leave the lab. - Secure the area by locking doors, posting signage and guarding the area to keep people out of the space. For assistance, contact MSU's Biosafety Officer (406-994-6733) or Safety and Risk Management (406-994-2711). |

| EXPOSURE PROCEDURES |  |
| --- | --- |
| Mucous membrane | Flush eyes, mouth, or nose for 5 minutes at eyewash station. |
| Other Exposures | Wash area with soap and water for 5 minutes. |
| Reporting | Immediately report incident to supervisor, complete a First Report of Injury form, and submit to Safety and Risk Management. |
| Medical Follow-up | During business hours: Bridger Occupational Health 3400 Laramie Drive Weekdays 8am -6pm. Weekends 9am-5pm 406-577-7674 After business hours: Bozeman Deaconess Hospital Emergency Room 915 Highland Blvd |

| PERSONAL PROTECTIVE EQUIPMENT (PPE) |  |
| --- | --- |
| Minimum PPE Requirements | Lab coat, disposable gloves, safety glasses, closed toed shoes, long pants |
| Additional Precautions | Additional PPE may be required depending on lab specific SOPs and IBC Protocol. |