# Montana State University Certified Green Lab Program

# Principal Investigator: 				Date: 		 Department: 					 Building: 		Room(s):

Overview & Instructions:

The Montana State University Certified Green Lab Program addresses sustainable behaviors, conservation efforts, and environmentally friendly infrastructure applicable to laboratory settings. Through the Research Integrity and Compliance (RIC) Green Lab evaluation list, labs can achieve graded levels of Certified Green Lab:

- Green: Awarded to labs that achieve 100% lab assessment scores

- Gold:   Awarded to labs that achieve ≥95% lab assessment scores

- Silver: Awarded to labs that achieve ≥90% lab assessment scores

To be recognized as a Certified Green Lab, laboratories will be assessed in accordance with the Certified Green Lab list. The certification list is first completed by lab staff as self-assessment. Thereafter, the check list is passed along to the RIC (mark.dewald@montana.edu or mary.gauvin@montana.edu) to schedule an onsite sustainability survey. Upon RIC evaluation, labs will receive a final score. Labs will receive a certification based on the lab assessment scores.

Unless otherwise specified, the score will adhere to the following:

Complete = 1 pt; Partial = 0.5 pt; No = 0 pt; N/A = excluded from total score

# Equipment:

Turn off energy consuming appliances/equipment when not in use (implement “turn me off” labeling). Notable laboratory equipment includes:

| Complete | Partial | No | N/A | Thermocyclers |
| --- | --- | --- | --- | --- |
| Complete | Partial | No | N/A | Refrigerated centrifuges |
| Complete | Partial | No | N/A | Biosafety cabinets |
| Complete | Partial | No | N/A | Computers: sleeping, power save mode |
| Complete | Partial | No | N/A | Other, please describe: |

Ultra-Low Temperature Freezers (ULTs):

Complete   Partial    No    N/A Units are staged in centralized location/room,

maintaining 6-8” free perimeter, near an exhaust duct.

Complete   Partial    No    N/A  Temperature setpoint increased from -80°C to -70°C.

Complete   Partial    No    N/A An accurate inventory of contents in maintained.

Complete   Partial    No    N/A Minimize the duration in which the door is kept open.

Complete   Partial    No    N/A Keep the unit well-stocked or something to take up space such as a Styrofoam box.

Complete   Partial    No    N/A Share/consolidate cold storage space.

Complete  Partial    No   N/A Door/gasket ice build-up is regularly removed. Units are defrosted as needed.

| Complete | Partial | No | N/A | Filters are routinely cleaned/replaced. |
| --- | --- | --- | --- | --- |
| Complete | Partial | No | N/A | Coils are routinely cleaned. |

Biosafety Cabinets (BSCs):

| Complete | Partial | No | N/A | The use of UV light in biosafety cabinets is |
| --- | --- | --- | --- | --- |
| discouraged. Complete | Partial | No | N/A | Biosafety cabinets are regularly (annually) |

professionally certified.

Complete    Partial   No     N/A The BSC catch basin is regularly cleaned and is void of

any debris.

Fume Hoods:

| Complete | Partial | No | N/A | Lower fume hood sash when not in use. |
| --- | --- | --- | --- | --- |
| Complete | Partial | No | N/A | The sash level is appropriate when work is ongoing |

(i.e. not raised all the way up).

Complete   Partial    No    N/A Minimize the storage of erroneous items/equipment

in the fume hood.

Complete  Partial   No   N/A The fume hood is not utilized to evaporate chemicals     or reagents to circumvent appropriate waste disposal methods.

# Water Conservation:

Complete   Partial    No    N/A Turn off the water faucet/tap when it is not in use.

Complete   Partial    No    N/A Do not allow water sources to run longer than necessary.

Complete   Partial    No    N/A Low-flow faucet water aerators.

Complete   Partial    No    N/A Conscious water quality selections are made (ex. Tap vs. RO vs. DI).

Complete   Partial    No    N/A Utilize membrane/diaphragm/oil free pumps or we use the house vacuum system instead of water-vacuum aspirators.

Complete  Partial   No   N/A When possible, glassware is reused to minimize the need for washing.

| Complete Complete |  |  | Partial Partial |  |  | No No |  |  | N/A N/A |  |  | Faucets are free of leaks. Reusable alternative to ice (e.g. Lab Armor beads). |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Recycling: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Complete |  |  | Partial |  |  | No |  |  | N/A |  |  | Recycle/reuse empty tip boxes. |  |  |
| Complete |  |  | Partial |  |  | No |  |  | N/A |  |  | Recycle cardboard/paper. |  |  |
| Complete |  |  | Partial |  |  | No |  |  | N/A |  |  | Recycle ink/toner cartridges. |  |  |
| Complete |  |  | Partial |  |  | No |  |  | N/A |  |  | Recycle batteries and/or other universal waste. |  |  |

# Sustainable Purchasing:

Complete    No   N/A Whenever possible, share equipment as opposed to making

individual purchases.

Complete   No    N/A Purchase gloves that are readily biodegradable.

Complete    No    N/A Purchase bagged conical tubes instead of Styrofoam racked.

Complete    No    N/A Utilize reusable products in lieu of disposable.

Complete    No    N/A Use stackable or refillable tip boxes.

# Facility Design / Infrastructure:

Complete   Partial    No    N/A Lights are turned off when the lab is vacant (or the room is equipped with occupancy sensors).

| Complete | Partial | No | N/A | Lab doors are kept closed. |
| --- | --- | --- | --- | --- |
| Complete | Partial | No | N/A | If capable of being opened, windows are kept closed. |
| Complete | Partial | No | N/A | Window blinds/shades are lowered. |
| Complete | Partial | No | N/A | Lab is free of general maintenance issues (ex. Poorly sealed |

windows, wall penetrations, missing ceiling tiles, etc.).

Complete   Partial    No    N/A Thermostats are not obstructed or burdened (i.e. in direct sunlight or heat produced by nearby equipment).

Complete   Partial    No    N/A Only essential equipment connected to emergency power.

# Engagement:

Complete       No    N/A Sustainable behaviors incorporated into lab standard

operating procedures (SOPs).

Complete      No     N/A Disseminate green lab initiatives (such as displaying

posters/notices, departmental emails, etc.).

Complete     No    N/A Provide feedback to RIC (mark.dewald@montana.edu; 406-994-6757or mary.gauvin@montana.edu; 406-994-6821).

Waste Management:

| Complete | Partial | No | N/A | When possible, minimize single-use items in the laboratory. |
| --- | --- | --- | --- | --- |

Complete  Partial     No     N/A Appropriately distinguish between biomedical and biological, but non-biomedical waste streams.

Comments/Feedback:

Individual Completing Self-Assessment: 		 Self-Assessment Completion Date:

*Upon completion of the self-assessment, please send a copy to: mark.dewald@montana.edu ; 406-994-6757or mary.gauvin@montana.edu; 406-994-6821

# To be completed by Research Integrity and Compliance

Individual Completing Evaluation: 	 Evaluation Date:

Evaluation Score: